## Template- Enter Values Here
(1) | Input Standard Values Here | [5 empty] | (3) |  | Input Sample Values Here
| Enter the fluorescence reading (F) values from the "Fluorescence Standards Plate Read" program in the appropriate cells below. | [7 empty] | Enter the fluorescence reading (F) values from the "Plate Read" program below.
[8 empty] | Fluorescence Reading (F) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| Standard # |  | 1 | 2 | 3 | 4 |  |  | B
| F (Replicate 1) | [7 empty] | C
| F (Replicate 2) | [7 empty] | D
| F (Replicate 3) | [7 empty] | E
F
G
H
[7 empty] | (4) |  | The DNA concentration of each sample will be calculated below in ng/µl.
[8 empty] | DNA Concentration (ng/µl) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
(2) | The average fluorescence reading values will be calculated below and then are used to created a standard curve equation, represented by Values A, B, and C. The R-sqaured value is also calculated and shown. | [5 empty] | Do not edit. |  | A | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve
[9 empty] | B | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve
[9 empty] | C | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve
[9 empty] | D | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve
Do not edit. | Average |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | E | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve
| Concentration (ng/µl) |  | 0 | 8 | 16 | 24 |  |  | F | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve
| Value A: | #VALUE! | Value B: | #VALUE! | Value C: | #VALUE! |  |  | G | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve
| R-squared: |  |  | #VALUE! |  |  |  |  | H | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve | No Std. Curve
Do not edit. | Array 1 (Used only for R-squared calculation)
[7 empty] | (5) | Input Normalization Value Here |  | 3: Enter the amount of product you would like to use (in ng) for normalization below:
| #DIV/0! | 0 | [7 empty] | 3: Desired amount of product (ng):
| #DIV/0! | 8
| #DIV/0! | 16
| #DIV/0! | 24 |  |  |  |  | (6) |  | Obtain Pooling Volumes Here
The volume that should be used for normalization will be calculated below in µl.
[8 empty] | Volume to Normalize (µl) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[7 empty] | Do not edit. |  | A | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value
[9 empty] | B | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value
[9 empty] | C | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value
[9 empty] | D | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value
[9 empty] | E | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value
[9 empty] | F | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value
[9 empty] | G | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value
[9 empty] | H | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value | No Norm. Value
Troubleshooting: Samples highlighted in red do not have enough DNA to meet the desired amount of product. For samples highlighted in red, pool the entire volume (20 µl). Alternatively, decrease the value in Table 5 (cell R28) until there are no remaining highlighted samples.
[7 empty] | (7) | Obtain Select-a-Size MagBead Buffer Volume Here |  | 3: Do not edit.; 4: Volume of Pooled Library (µl); 7: No Norm. Value
[13 empty] | Volume of Select-a-Size MagBead Buffer (µl) |  |  | No Norm. Value
Version 1.1.1

## Example- For Additional Support
(1) | Input Standard Values Here | [5 empty] | (3) |  | Input Sample Values Here
| Enter the fluorescence reading (F) values from the "Fluorescence Standards Plate Read" program in the appropriate cells below. | [7 empty] | Enter the fluorescence reading (F) values from the "Plate Read" program below.
[8 empty] | Fluorescence Reading (F) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[9 empty] | A | 5848.1875 | 3936.6187 | 4313.1565 | 4868.4911 | 5454.3127 | 5284.8258 | 5709.3567 | 3710.9563 | 7645.6701 | 4515.5563 | 5046.4893 | 4405
| Standard # |  | 1 | 2 | 3 | 4 |  |  | B | 4781.5031 | 3761.4719 | 6837.6423 | 4394.7996 | 7853.5884 | 7880.3569 | 4938.4062 | 8346.2338 | 5493.6506 | 7289.2688 | 8527.6984 | 7263.6033
| F (Replicate 1) |  | 2518 | 7027 | 11078 | 14726 |  |  | C | 6550.5498 | 7002.8859 | 5310.1628 | 6516.7552 | 5063.0124 | 7254.8304 | 4582.6088 | 4836.6272 | 7838.931 | 6144.6174 | 6120.6744 | 3584.8797
| F (Replicate 2) |  | 2521 | 7150 | 11278 | 12723 |  |  | D | 3717.5234 | 4873.9428 | 8199.2856 | 9383.9046 | 4513.1539 | 8964.1289 | 8398.7054 | 4209.2232 | 4273.6997 | 5929.8564 | 8978.0903 | 4249.1119
| F (Replicate 3) |  | 2505 | 7033 | 11245 | 12964 |  |  | E | 6585.9201 | 6303.2946 | 5549.1305 | 6792.3542 | 5072.0222 | 5517.4757 | 11238.364 | 3984.7954 | 7902.2645 | 4199.4906 | 4336.193 | 6525.5412
[9 empty] | F | 6919.7455 | 5739.946 | 7283.5676 | 4443.3047 | 3824.9633 | 7061.0056 | 3580.0324 | 7955.5642 | 6235.9541 | 3707.6073 | 5920.3734 | 3798.8779
[9 empty] | G | 4086.377 | 3957.7649 | 5451.4487 | 4458.4616 | 9266.8766 | 9042 | 4334.6956 | 5788.7279 | 5365.6553 | 5557.9424 | 5768.382 | 9047.5452
[9 empty] | H | 6134.3209 | 6610.8238 | 4756.285 | 5177.8993 | 7124.3923 | 3833.6848 | 5405.9524 | 4598.1469 | 5522.6115 | 4197.0482 | 4507.5189 | 4445.7471
[7 empty] | (4) |  | The DNA concentration of each sample will be calculated below in ng/µl.
[8 empty] | DNA Concentration (ng/µl) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
(2) | The average fluorescence reading values will be calculated below and then are used to created a standard curve equation, represented by Values A, B, and C. The R-sqaured value is also calculated and shown. | [5 empty] | Do not edit. |  | A | 5.0732 | 2.0318 | 2.5807 | 3.4352 | 4.3946 | 4.1109 | 4.8309 | 1.7146 | 8.5115 | 2.886 | 3.7204 | 2.7184
[9 empty] | B | 3.2978 | 1.7849 | 6.8965 | 2.703 | 8.9454 | 9.0018 | 3.5466 | 10.0035 | 4.4612 | 7.7852 | 10.4038 | 7.7338
[9 empty] | C | 6.35 | 7.2176 | 4.153 | 6.2866 | 3.7472 | 7.7162 | 2.9887 | 3.3847 | 8.9146 | 5.6016 | 5.5583 | 1.5413
[9 empty] | D | 1.7237 | 3.4439 | 9.6835 | 12.3699 | 2.8823 | 11.3901 | 10.1186 | 2.4268 | 2.5221 | 5.2172 | 11.4222 | 2.4856
Do not edit. | Average |  | 2514.6667 | 7070 | 11200.3333 | 13471 |  |  | E | 6.4165 | 5.8907 | 4.5555 | 6.8093 | 3.7618 | 4.5016 | 17.0643 | 2.1007 | 9.0481 | 2.4124 | 2.6151 | 6.303
| Concentration (ng/µl) |  | 0 | 8 | 16 | 24 |  |  | F | 7.0554 | 4.884 | 7.7738 | 2.7762 | 1.8738 | 7.3316 | 1.5347 | 9.161 | 5.7675 | 1.71 | 5.2004 | 1.8372
| Value A: | 8.6774e-08 | Value B: | 0.00074195 | Value C: | -2.2337 |  |  | G | 2.2472 | 2.062 | 4.3898 | 2.7991 | 12.0936 | 11.5695 | 2.6129 | 4.969 | 4.2456 | 4.5705 | 4.9335 | 11.5823
| R-squared: |  |  | 0.99493 |  |  |  |  | H | 5.583 | 6.4635 | 3.2583 | 3.9345 | 7.4567 | 1.886 | 4.3132 | 3.0126 | 4.5104 | 2.4089 | 2.8737 | 2.7799
Do not edit. | Array 1 (Used only for R-squared calculation)
[7 empty] | (5) | Input Normalization Value Here |  | 3: Enter the amount of product you would like to use (in ng) for normalization below:
| 2514.6667 | 0 | [7 empty] | 3: Desired amount of product (ng):; 7: 30
| 7070 | 8
| 11200.3333 | 16
| 13471 | 24 |  |  |  |  | (6) |  | Obtain Pooling Volumes Here
The volume that should be used for normalization will be calculated below in µl.
[8 empty] | Volume to Normalize (µl) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[7 empty] | Do not edit. |  | A | 5.9135 | 14.7651 | 11.6246 | 8.7331 | 6.8265 | 7.2976 | 6.21 | 17.4965 | 3.5246 | 10.3951 | 8.0636 | 11.036
[9 empty] | B | 9.0969 | 16.808 | 4.35 | 11.0987 | 3.3537 | 3.3327 | 8.4588 | 2.999 | 6.7247 | 3.8535 | 2.8836 | 3.8791
[9 empty] | C | 4.7244 | 4.1565 | 7.2236 | 4.7721 | 8.006 | 3.8879 | 10.0379 | 8.8633 | 3.3653 | 5.3556 | 5.3973 | 19.4645
[9 empty] | D | 17.404 | 8.7111 | 3.0981 | 2.4253 | 10.4083 | 2.6339 | 2.9648 | 12.3621 | 11.895 | 5.7502 | 2.6265 | 12.0693
[9 empty] | E | 4.6754 | 5.0928 | 6.5854 | 4.4057 | 7.9749 | 6.6643 | 1.7581 | 14.2811 | 3.3156 | 12.4355 | 11.4717 | 4.7596
[9 empty] | F | 4.252 | 6.1425 | 3.8591 | 10.8062 | 16.0105 | 4.0919 | 19.5483 | 3.2748 | 5.2016 | 17.5439 | 5.7687 | 16.3295
[9 empty] | G | 13.35 | 14.549 | 6.834 | 10.7175 | 2.4806 | 2.593 | 11.4816 | 6.0374 | 7.0661 | 6.5638 | 6.0809 | 2.5902
[9 empty] | H | 5.3735 | 4.6414 | 9.2074 | 7.6248 | 4.0233 | 15.9064 | 6.9554 | 9.9583 | 6.6514 | 12.4541 | 10.4394 | 10.7918
Troubleshooting: Samples highlighted in red do not have enough DNA to meet the desired amount of product. For samples highlighted in red, pool the entire volume (20 µl). Alternatively, decrease the value in Table 5 (cell R28) until there are no remaining highlighted samples.
[7 empty] | (7) | Obtain Select-a-Size MagBead Buffer Volume Here |  | 3: Do not edit.; 4: Volume of Pooled Library (µl); 7: 756.9483
[13 empty] | Volume of Select-a-Size MagBeads (µl) |  |  | 605.5586
Version 1.1.1