## Library QC and dilution
SARS-CoV-2 WGS Calculator
1. Qubit Concentration calculation
Fill in: Calculated Qubit Readout:
pool A: | 5.08 | ng/µL | = | 17.2966 | nM
pool B: | 3.51 | ng/µL | = | 11.951 | nM
sample concentration (pg/µL) * 1000000(µL/l) / 660000(pg/nM/bp)/# bp
2. Dilution of both pools to 50 µL of 2 nM
| pool volume (µL) |  | lowTE volume
pool A: | 5.7815 |  | 44.2185
pool B: | 8.3675 |  | 41.6325
3. Denaturation pipetting scheme
Pool A (2 nM) | 5 | µL
Pool B (2 nM) | 5 | µL
NaOH (0.2 N) | 10 | µL
incubate 5 minutes at room temp
Tris-HCl (200 mM) | 10 | µL
Ice Cold Buffer HT1 | 970 | µL
Total (20 pM) | 1000 | µL
4. Final Library pipetting scheme
| Loading concentration (pM) |  | end volume (µL ) |  | Denaturated pool (20 pM) volume (µL) | HT1 volume (µL) | 20 pM PhiX control (µL)
MiniSeq | 0.8 |  | 500 |  | 20 | 479 | 1
MiSeq v2 | 9 |  | 600 |  | 270 | 325 | 5
MiSeq v3 | 15 |  | 600 |  | 450 | 140 | 10
NextSeq | 0.9 |  | 1500 |  | 67.5 | 1429.5 | 3
,

## Sheet1
A | B
5.04 | 3.51
5.12 | 3.52
5.08 | 3.51