## Template- Enter Values Here
(1) | Input Standard Values Here |  |  |  | (3) |  | Input Sample Values Here
| Enter the Ct values (highlighted) for each duplicate where the qPCR amplification curves cross the baseline threshold for the dilution points of the ZymoBIOMICS 16S/ITS qPCR Standard. |  |  |  |  | Enter the Ct Values from the 1-Step PCR below. Wells A12-F12 are reserved for the standard curve. G12 is the ZymoBIOMICS Microbial Community DNA Standard positive control and H12 is the negative control.
[6 empty] | Ct Values |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| Ct 1 | Ct 2 | Average Ct | Copies/µl |  |  | B
|  |  | #DIV/0! | 7500000 |  |  | C
|  |  | #DIV/0! | 75000 |  |  | D
|  |  | #DIV/0! | 750 |  |  | E
F
G
H
(2) | The standard curve is plotted below and an exponential trendline is fitted on. The final equation and R-squared value are included. Enter the corresponding Values A and B (highlighted) into the cells below. |  |  |  | (4) |  | The concentration of each sample will be calculated below in 16S copies/µl.
[6 empty] | Concentration (16S copies/µl) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[5 empty] | Do not edit. |  | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Value A
Value B
Version 1.0.0

## Example- For Additional Support
(1) | Input Standard Values Here |  |  |  | (3) |  | Input Sample Values Here
| Enter the Ct values (highlighted) for each duplicate where the qPCR amplification curves cross the baseline threshold for the dilution points of the ZymoBIOMICS 16S/ITS qPCR Standard. |  |  |  |  | Enter the Ct Values from the 1-Step PCR below. Wells A12-F12 are reserved for the standard curve. G12 is the ZymoBIOMICS Microbial Community DNA Standard positive control and H12 is the negative control.
[6 empty] | Ct Values |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[7 empty] | A | 24.57 | 18.14 | 19.87 | 9.36 | 33.94 | 31.3 | 11.41 | 17.2 | 31.93 | 13.6 | 26.71 | 17.16
| Ct 1 | Ct 2 | Average Ct | Copies/µl |  |  | B | 21.81 | 21.9 | 33.45 | 31.29 | 14.23 | 18.22 | 16.42 | 15.78 | 26.27 | 12.39 | 14.84 | 17.17
| 17.16 | 17.17 | 17.165 | 7500000 |  |  | C | 33.84 | 30.69 | 8.2 | 24.26 | 27.5 | 27.91 | 33.99 | 21.64 | 17.99 | 16.46 | 28.39 | 24.39
| 24.39 | 24.41 | 24.4 | 75000 |  |  | D | 9.25 | 16.29 | 27.23 | 8.87 | 20.79 | 27.59 | 18.56 | 21.31 | 13.6 | 29.44 | 32.46 | 24.41
| 32.64 | 32.13 | 32.385 | 750 |  |  | E | 31.57 | 28.43 | 11.68 | 22.36 | 23.78 | 8.28 | 13.48 | 33.27 | 17.14 | 29.95 | 15.66 | 32.64
[7 empty] | F | 24.65 | 9.79 | 18.26 | 33.33 | 12.16 | 8.57 | 31.63 | 17.27 | 19.85 | 25.28 | 10.93 | 32.13
[7 empty] | G | 20.88 | 10.83 | 20.22 | 21.54 | 20.91 | 27.77 | 22.15 | 12.62 | 29.6 | 17.7 | 26.83 | 14.33
[7 empty] | H | 9.78 | 13.31 | 32.82 | 10.48 | 14.78 | 14.45 | 32.27 | 22.64 | 10.51 | 21.22 | 25.81 | 40.24
(2) | The standard curve is plotted below and an exponential trendline is fitted on. The final equation and R-squared value are included. Enter the corresponding Values A and B (highlighted) into the cells below. |  |  |  | (4) |  | The concentration of each sample will be calculated below in 16S copies/µl.
[6 empty] | Concentration (16S copies/µl) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[5 empty] | Do not edit. |  | A | 78714.4951 | 3842164.354 | 1349823.768 | 776619589.5052 | 272.5763 | 1345.0962 | 224841934.4304 | 6782978.0212 | 918.999 | 59811158.5684 | 21581.8983 | 6949033.8928
[7 empty] | B | 417668.8613 | 395546.9619 | 366.5745 | 1353.2541 | 40864284.4893 | 3660731.6862 | 10870481.9925 | 16007117.0935 | 28160.0785 | 124316513.5025 | 28259052.3006 | 6907142.6419
[7 empty] | C | 289.5663 | 1945.0898 | 1566119592.3641 | 94942.5451 | 13385.5199 | 10446.4574 | 264.4588 | 462886.1468 | 4206937.0514 | 10610718.2052 | 7814.8527 | 87765.2925
[7 empty] | D | 830031159.5259 | 11759446.1078 | 15759.3166 | 1044437813.0387 | 773899.5778 | 12676.5537 | 2980462.9526 | 565109.1626 | 59811158.5684 | 4141.811 | 667.0168 | 86710.3211
[7 empty] | E | 1142.4868 | 7628.107 | 190974410.319 | 299503.4452 | 126913.8768 | 1492165115.228 | 64312334.5942 | 408.7242 | 7033580.1364 | 3042.7342 | 17211756.051 | 598.2307
[7 empty] | F | 74997.4806 | 598811490.5661 | 3573253.9158 | 394.1616 | 142865359.0586 | 1252168392.8327 | 1101.7807 | 6501871.3904 | 1366246.5587 | 51239.91 | 300556104.8932 | 814.3197
[7 empty] | G | 732909.8603 | 319290211.0388 | 1092362.7837 | 491738.5244 | 719734.8791 | 11369.2839 | 340054.0313 | 108175947.1382 | 3759.8818 | 5013259.1959 | 20071.3961 | 38466604.2075
[7 empty] | H | 602443232.9064 | 71274857.9409 | 536.5381 | 394544305.3891 | 29303103.7862 | 35774353.0594 | 748.2227 | 252856.2437 | 387451872.7338 | 596714.2292 | 37190.3352 | 6.0409
| Value A | 222920000000
| Value B | -0.60466
Version 1.0.0